## LOG
Green | 1 | Not an issue/false alarm | Data requires no further action or breach was a false positive not due to code
Yellow | 2 | Non-threatening issue | Issue is not severe enough to warrant immediate attention or requires a simple update to changepoints
Orange | 3 | Threatening issue | Issue that requires a more detailed solution, urgent correction, or needs to be watched for failure
Red | 4 | True failure | Float that has either failed or is noted as bad/severly questionable after group consensus
Purple | 5 | No O2/GPS | Specific to these two conditions
Blue | 6 | MBARI/code specific issue | Internal code issues or issues that are specific to our data tables/methods | [15 empty] | TOTALS | 18 | 48 | 0 | 11 | 25 | 11
DATE | WMO | MBARIID | PUMPOFFSET | N_QBL | PH_QBL | BADN | BADPH | BADO2 | SENSOR | CATCH | DEPTH | STARTCYC | ENDCYC | CYCLES | FLAG | NOTES | ACTIONS TAKEN | REPEAT? | RESOLVED? | F1 | F2 | F3 | F4 | F5 | F6
2024-07-31 | 5906470 | ua20970 | 1 | 0 | 0 | 0 | 0 | 0 | PH | REFANOM | 950 | 90 | 96 | 93 | 1 | Only a single cycle of noise is captured, Tanya points this one out | Marking as a false alarm and as resolved | NO | YES | 1 | #N/A | #N/A | #N/A | #N/A | #N/A
2024-07-31 | 5906442 | un1120 | 0 | 0 | 0 | 0 | 0 | 0 | PH | DRIFT | 1400 | 83 | 90 | 84 | 2 | The most recent cycles are noisy, however there is a previous cycle that needed to be marked on the BSL. Technically a catch | Cycles 62-74 marked as fails on BSL, although the sensor itself is not failing | NO | YES | 0 | 1 | #N/A | #N/A | #N/A | #N/A
2024-07-31 | 5906442 | un1120 | 0 | 0 | 0 | 0 | 0 | 0 | PH | REFANOM | 1400 | 83 | 90 | 84-86 | 2 | The most recent cycles are noisy, however there is a previous cycle that needed to be marked on the BSL. Technically a catch | Cycles 62-74 marked as fails on BSL, although the sensor itself is not failing | NO | YES | #N/A | 2 | #N/A | #N/A | #N/A | #N/A
2024-07-31 | 5906340 | ua19364 | 0 | 0 | 0 | 0 | 0 | 0 | PH | REFANOM | 1500 | 115 | 122 | 115-122 | 6 | Float was not added to pump offset list | Float put on pump offset list, marking as MBARI specific issue | NO | YES | #N/A | #N/A | #N/A | #N/A | #N/A | 1
2024-08-02 | 3902559 | ua17465 | 0 | 0 | 0 | 0 | 0 | 0 | PH | REFANOM | 1500 | 92 | 104 | 100-101 | 1 | PH performing well, just two points of noise that seem real |  | NO | YES | 3 | #N/A | #N/A | #N/A | #N/A | #N/A
2024-08-02 | 5906473 | ua20912 | 0 | 0 | 1 | 0 | 0 | 0 | PH | DRIFT | 1000 | 59 | 95 | 85 | 2 | Float DOES NOT hit seamounts and pH is actually poor quality, even though this is a single cycle of drift, keeping as questionable since it is a true positive. | Put on urgent fix list since these cycles need to be added to BSL | NO | YES | #N/A | 3 | #N/A | #N/A | #N/A | #N/A
2024-08-02 | 5906473 | ua20912 | 0 | 0 | 1 | 0 | 0 | 0 | PH | REFANOM | 1000 | 59 | 95 | 59-95 | 2 | Float that hits seamounts around Hawaii, PH previously qc'd at 1500m but data quality is poor, this needs to have updated coefficients at shallower depth; deep pH may be real but is not effective for mid-surface data. | Put on urgent fix list since these cycles need to be added to BSL | NO | YES | #N/A | 4 | #N/A | #N/A | #N/A | #N/A
2024-08-02 | 5906517 | ua20842 | 1 | 0 | 0 | 0 | 0 | 0 | PH | DRIFT | 950 | 69 | 74 | 73 | 1 | Single cycle of noisy data but the sensor is performing well |  | NO | YES | 4 | #N/A | #N/A | #N/A | #N/A | #N/A
2024-08-02 | 5906517 | ua20842 | 1 | 0 | 0 | 0 | 0 | 0 | PH | REFANOM | 950 | 69 | 74 | 73 | 1 | Single cycle of noisy data but the sensor is performing well |  | NO | YES | 5 | #N/A | #N/A | #N/A | #N/A | #N/A
2024-08-03 | 5906525 | ua20926 | 1 | 0 | 0 | 0 | 0 | 0 | PH | REFANOM | 950 | 55 | 79 | 79 | 1 | Float is performing well and only most recent cycle goes above threshold. Keeping on watchlist in case it continues to drift |  | NO | YES | 6 | #N/A | #N/A | #N/A | #N/A | #N/A
2024-08-03 | 5906560 | ua21475 | 1 | 0 | 0 | 0 | 0 | 0 | PH | DRIFT | 950 | 51 | 56 | 56 | 1 | Ref anomaly is increasing and the cycle delta breaches .01 on most recent cycle, not enough data to say if sensor is failing | Float hasn't popped back up in awhile | NO | YES | 7 | #N/A | #N/A | #N/A | #N/A | #N/A
2024-08-03 | 5906560 | ua21475 | 1 | 0 | 0 | 0 | 0 | 0 | PH | REFANOM | 950 | 51 | 56 | 55-56 | 1 | Ref anomaly is increasing and the cycle delta breaches .01 on most recent cycle, not enough data to say if sensor is failing | Float hasn't popped back up in awhile | NO | YES | 8 | #N/A | #N/A | #N/A | #N/A | #N/A
2024-08-03 | 1902650 | ua20075 | 1 | 0 | 0 | 0 | 0 | 0 | PH | DRIFT | 950 | 8 | 16 | 12 | 1 | PH data needed to be corrected as the old coefficients no longer fit the data. | Float has been reprocessed at cycle 16 | NO | YES | 9 | #N/A | #N/A | #N/A | #N/A | #N/A
2024-08-03 | 1902650 | ua20075 | 1 | 0 | 0 | 0 | 0 | 0 | PH | REFANOM | 950 | 8 | 16 | 12-16 | 2 | PH data needed to be corrected as the old coefficients no longer fit the data. | Float has been reprocessed at cycle 16 | NO | YES | #N/A | 5 | #N/A | #N/A | #N/A | #N/A
2024-08-03 | 7901106 | ua21146 | 0 | 1 | 1 | 0 | 0 | 0 | PH | REFANOM | 1500 | 92 | 104 | 94 | 6 | Float still drifts a little high, but data is normal compared to float's history, noted as PO float on log but not on the list. | Float still needs to be added; 8/27/2024: float added to list | NO | YES | #N/A | #N/A | #N/A | #N/A | #N/A | 2
2024-08-03 | 7901106 | ua21146 | 0 | 1 | 1 | 0 | 0 | 0 | PH | REFANOM | 1500 | 92 | 104 | 98-99 | 6 | Float still drifts a little high, but data is normal compared to float's history, noted as PO float on log but not on the list. | Float still needs to be added; 8/27/2024: float added to list | YES | YES | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2024-08-03 | 7901106 | ua21146 | 0 | 1 | 1 | 0 | 0 | 0 | PH | REFANOM | 1500 | 92 | 104 | 102-103 | 6 | Float still drifts a little high, but data is normal compared to float's history, noted as PO float on log but not on the list. | Float still needs to be added; 8/27/2024: float added to list | YES | YES | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2024-08-05 | 5906207 | ua18013 | 1 | 0 | 0 | 0 | 0 | 0 | PH | REFANOM | 950 | 140 | 163 | 163 | 1 | Recent cycle is anomalously high, profiles look good, but too early to tell if drifting sensor | 8/26/2024: Float hasn't popped up since | NO | YES | 10 | #N/A | #N/A | #N/A | #N/A | #N/A
2024-08-05 | 1902374 | ss4016 | 0 | 0 | 0 | 0 | 0 | 1 | #N/A | NO GPS | 500 | 1 | 15 | 15 | 5 | The most recent cycle does not have GPS, will need to watch if it continues to not get a fix | Waiting to see if float recovers. 8/28/2024: marking as resolved since no new profiles are missing O2 | NO | YES | #N/A | #N/A | #N/A | #N/A | 1 | #N/A
2024-08-05 | 7901103 | un1571 | 1 | 0 | 0 | 0 | 0 | 0 | PH | REFANOM | 950 | 8 | 10 | 10 | 1 | Pump Offs. float; most recent cycle is above ref, but not enough to consider re-qc'ing | 8/26: float reviewed and hasn't popped back up since | NO | YES | 11 | #N/A | #N/A | #N/A | #N/A | #N/A
2024-08-05 | 7902111 | un0064 | 0 | 0 | 0 | 0 | 0 | 0 | PH | REFANOM | 1500 | 7 | 11 | 8-11 | 2 | The previous values of drift/offset "boost" the newer points above the threshold, early life of float with high pH drift | Waiting for second opinion on how to handle this float | NO | YES | #N/A | 6 | #N/A | #N/A | #N/A | #N/A
2024-08-05 | 7902111 | un0064 | 0 | 0 | 0 | 0 | 0 | 0 | PH | DRIFT |  | 7 | 11 | 8 | 2 | The previous values of drift/offset "boost" the newer points above the threshold, early life of float with high pH drift | Waiting for second opinion on how to handle this float | NO | YES | #N/A | 7 | #N/A | #N/A | #N/A | #N/A
2024-08-05 | 5906450 | ua20704 | 0 | 0 | 0 | 0 | 0 | 0 | N | REFANOM | 1500 | 95 | 102 | 102 | 1 | FIRST N CATCH IN AWHILE; both N and PH have recently high drift although the data is noisy, float should be kept under watch | 8/26: Float reviewed and hasn't popped back up since | NO | YES | 12 | #N/A | #N/A | #N/A | #N/A | #N/A
2024-08-05 | 5906450 | ua20704 | 0 | 0 | 0 | 0 | 0 | 0 | PH | REFANOM | 1500 | 95 | 102 | 100-101 | 1 | FIRST N CATCH IN AWHILE; both N and PH have recently high drift although the data is noisy, float should be kept under watch | 8/26: Float reviewed and hasn't popped back up since | NO | YES | 13 | #N/A | #N/A | #N/A | #N/A | #N/A
2024-08-05 | 1902643 | ua22725 | 0 | 0 | 0 | 0 | 0 | 0 | PH | REFANOM | 1500 | 10 | 17 | 17 | 2 | Most recent cycle has high drift, although O2 is also lower than ever before and may contribute to PH value | Waiting to see how data develops | NO | YES | #N/A | 8 | #N/A | #N/A | #N/A | #N/A
2024-08-05 | 5906206 | ua18821 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | NO GPS | 1500 | 157 | 163 | 163 | 5 | Most recent cycle is missing GPS fix, watch if this continues | Waiting to see if GPS recovers; 8/26: float appears to have gotten GPS, marking as resolved | NO | YES | #N/A | #N/A | #N/A | #N/A | 2 | #N/A
2024-08-05 | 5906512 | ua20632 | 1 | 0 | 0 | 0 | 0 | 0 | PH | REFANOM | 1500 | 73 | 79 | 75 | 6 | Float qc'd to 1000m to match with ref better (not for pump offset), but qc depth is listed as 1500m; false alarm | Float added to PO list | NO | YES | #N/A | #N/A | #N/A | #N/A | #N/A | 3
2024-08-07 | 7901108 | ua21026 | 1 | 0 | 0 | 0 | 0 | 0 | PH | REFANOM | 950 | 9 | 15 | 13-14 | 2 | Stable linear drift after initial qc that boosts recent cycles past threshold | Only two consecutive cycles, so waiting to see how data develops | NO | YES | #N/A | 9 | #N/A | #N/A | #N/A | #N/A
2024-08-07 | 4903757 | ua22912 | 0 | 0 | 0 | 0 | 0 | 0 | PH | REFANOM | 1400 | 5 | 11 | 8-11 | 2 | Float develops pump offset after initial qc | Float re-qc'd to account for pump offset | NO | YES | #N/A | 10 | #N/A | #N/A | #N/A | #N/A
2024-08-07 | 5906561 | ua21489 | 1 | 0 | 0 | 0 | 0 | 0 | PH | DRIFT | 950 | 48 | 56 | 49-51 | 2 | Argentinian basin float, noisy data at depth but sfc looks good overall, vk noisy at mid depths indicating some slight issues with the sensor but this may be an instance of environmental factors, still needs to be updated | 8/29/2024: no BSL cycles needed, corrected and reprocessed with auto chpts | NO | YES | #N/A | 11 | #N/A | #N/A | #N/A | #N/A
2024-08-07 | 5906561 | ua21489 | 1 | 0 | 0 | 0 | 0 | 0 | PH | REFANOM | 950 | 48 | 56 | 49-53 | 2 | Argentinian basin float, noisy data at depth but sfc looks good overall, vk noisy at mid depths indicating some slight issues with the sensor but this may be an instance of environmental factors, still needs to be updated | 8/29/2024: no BSL cycles needed, corrected and reprocessed with auto chpts | NO | YES | #N/A | 12 | #N/A | #N/A | #N/A | #N/A
2024-08-07 | 2903854 | ua22213 | 0 | 1 | 0 | 0 | 0 | 0 | N | REFANOM | 1500 | 33 | 38 | 33-37 | 6 | Float has shallow profiles in the beginning but deeper profiles after last changepoint, RTQC uses the deeper depth, but data is qc'd to 600-800m to account for shallows | Need to look into this float but flagging as CODE SPECIFIC issue | NO | YES | #N/A | #N/A | #N/A | #N/A | #N/A | 4
2024-08-07 | 5906529 | ua20675 | 1 | 0 | 0 | 0 | 0 | 0 | PH | REFANOM | 950 | 161 | 174 | 165-174 | 2 | Float was DMQC'd during a set of anomalously low pH values, altering the consistent offset and drift from before, the newer points get "boosted" despite returning to the expected values from before the noise. | Putting on urgent watchlist since these cycles should be reprocessed | NO | YES | #N/A | 13 | #N/A | #N/A | #N/A | #N/A
2024-08-08 | 2903472 | ua21267 | 1 | 0 | 0 | 0 | 0 | 0 | PH | REFANOM | 950 | 26 | 33 | 29-32 | 2 | Float travels along S. Africa where O2 shifts from 210 to 180 over a single cycle, which causes a large jump in the reference that is not reflected by the data; offset should be updated but not indicative of failing sensor. | Putting on urgent watchlist | NO | YES | #N/A | 14 | #N/A | #N/A | #N/A | #N/A
2024-08-08 | 5906209 | ua18739 | 0 | 0 | 0 | 0 | 0 | 0 | PH | REFANOM | 1500 | 157 | 164 | 157-164 | 2 | Float was last DMQC'd 1250-1500m and marked as noisy, now the noise is even greater and float has slight jump in the profile that implies a pump offset is developing, although it is in the opposite direction | Flagging as urgent issue since float seems to be developing a pump | NO | YES | #N/A | 15 | #N/A | #N/A | #N/A | #N/A
2024-08-08 | 6990585 | ua21792 | 0 | 0 | 0 | 0 | 1 | 0 | #N/A | MISSING O2 | 1500 | 7 | 29 | 7-29 | 6 | Float has "muxer" issues and qc is manually conducted at 900m, which is not caught by RTQC, no PH | Float will keep popping up until a type of condition is made, marking as CODE issue | NO | YES | #N/A | #N/A | #N/A | #N/A | #N/A | 5
2024-08-08 | 5906208 | ua17898 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | NO GPS | 1500 | 157 | 164 | 164 | 5 | Most recent profile does not have a gps fix; possibly implement a consecutive counter for no gps? | Need to make a catch for these | NO | YES | #N/A | #N/A | #N/A | #N/A | 3 | #N/A
2024-08-12 | 2903869 | ua21519 | 1 | 0 | 0 | 0 | 0 | 0 | PH | REFANOM | 950 | 28 | 35 | 33-35 | 2 | Indian ocean float, pH continues to drift downwards and starts to heavily deviate from the reference over time, watch for greater drift next cycle | Flagging as threatening issue since VK is very noisy for this float | NO | YES | #N/A | 16 | #N/A | #N/A | #N/A | #N/A
2024-08-12 | 5906302 | ua19644 | 0 | 0 | 0 | 0 | 0 | 1 | PH | REFANOM | 1500 | 133 | 143 | 133-143 | 6 | Due to a regexp error, float was falsely id's as having bad O2 so the wrong reference was used; this issue was corrected and the float was not marked | No further action needed | NO | YES | #N/A | #N/A | #N/A | #N/A | #N/A | 6
2024-08-12 | 4903273 | wn1200 | 0 | 0 | 0 | 1 | 0 | 1 | PH | DRIFT | 500 | 24 | 42 | 30-36 | 4 | Data has been marked on BSL for a long time but still has cycles that need to be QC'd | 8/19: Float has been reprocessed and marked as fail on the BSL | NO | YES | #N/A | #N/A | #N/A | 1 | #N/A | #N/A
2024-08-12 | 4903273 | wn1200 | 0 | 0 | 0 | 1 | 0 | 1 | PH | REFANOM | 500 | 24 | 42 | 24-31 | 4 | Data has been marked on BSL for a long time but still has cycles that need to be QC'd | 8/19: Float has been reprocessed and marked as fail on the BSL | NO | YES | #N/A | #N/A | #N/A | 2 | #N/A | #N/A
2024-08-12 | 5906570 | ua21900 | 1 | 0 | 0 | 0 | 0 | 0 | N | REFANOM | 1000 | 21 | 61 | 39-61 | 2 | Cook island float with random intensity spikes and very strange bottom bathymetry, needs to be revisited by the entire team | 8/19: decided to mark all future cycles as questionable until sensor shows signs of true failure | YES | YES | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2024-08-12 | 5906570 | ua21900 | 1 | 0 | 0 | 0 | 0 | 0 | PH | REFANOM | 950 | 55 | 61 | 58-61 | 2 | Cook island float with random intensity spikes and very strange bottom bathymetry, needs to be revisited by the entire team | 8/19: decided to mark all future cycles as questionable until sensor shows signs of true failure | YES | YES | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2024-08-12 | 7901108 | ua21026 | 1 | 0 | 0 | 0 | 0 | 0 | PH | REFANOM | 950 | 9 | 15 | 13-15 | 2 | Float pops up again, same issue | Waiting to see how data develops, putting on non-urgent watchlist for now | YES | YES | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2024-08-12 | 7902111 | un0064 | 0 | 0 | 0 | 0 | 0 | 0 | PH | REFANOM | 1500 | 7 | 12 | 8-12 | 2 | Float popped up again with another refanom breach for cycle 12 | Reprocessing with updated coefficients | YES | YES | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2024-08-12 | 5906529 | ua20675 | 1 | 0 | 0 | 0 | 0 | 0 | PH | REFANOM | 950 | 161 | 175 | 165-175 | 2 | Float was caught again on 8/12/2024. | Reprocessing with updated coefficients | YES | YES | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2024-08-14 | 5906549 | ua21811 | 0 | 0 | 0 | 0 | 0 | 0 | N | REFANOM | 1500 | 53 | 61 | 58-61 | 2 | Nitrate drift is high (-3.8 umol/yr), but the data is very stable with linear drift, may just need updated changepoints but this high drift is also caused by wavy baseline, Josh and I experimented with different wavelength fit windows that may address the issue. increasing fit error in the NO3 spectra that may be resolved by fitting to a narrower wavelength window. | Flagging as urgent since this drift is too high and will continue to produce questionable data. | NO | YES | #N/A | 17 | #N/A | #N/A | #N/A | #N/A
2024-08-14 | 5906533 | ua20728 | 0 | 0 | 0 | 0 | 0 | 0 | PH | DRIFT | 1200 | 67 | 76 | 68-70 | 1 | During these cycles there is a high shift in pH, however this shift is captured by the reference due to a simultaneous spike in oxygen, implying that our data is real. | No further action needed | NO | YES | 14 | #N/A | #N/A | #N/A | #N/A | #N/A
2024-08-15 | 2903464 | un1472 | 0 | 0 | 0 | 0 | 0 | 0 | PH | REFANOM | 1500 | 32 | 41 | 38-40 | 2 | Float is following the shape of the reference, but reference has positive drift while float is relatively flat, may just need to be updated. | Float hasn't shown up on the list for past 2 cycles, placing on probably good watchlist | NO | YES | #N/A | 18 | #N/A | #N/A | #N/A | #N/A
2024-08-15 | 5906488 | ua19389 | 1 | 0 | 0 | 0 | 0 | 0 | PH | REFANOM | 950 | 80 | 90 | 87-89 | 6 | I corrected this float to 1500 despite noting that it has a pump offset and is on the PO list | Placed on pump offset list | YES | YES | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2024-08-15 | 5906489 | ua19976 | 1 | 0 | 0 | 0 | 0 | 0 | PH | REFANOM | 950 | 80 | 90 | 80-90 | 6 | Found while looking over notes for previous float, I noted that this float is PO but didn't put it on the list because SAGE V2 was going to fix it, but we did not use SAGE V2 yet | Placed on pump offset list | YES | YES | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2024-08-15 | 1902643 | ua22725 | 0 | 0 | 0 | 0 | 0 | 0 | PH | DRIFT | 1500 | 10 | 18 | 11-13 | 2 | The cycles that breach the cycle delta threshold are within refanom threshold, but recent cycle is definitely higher than normal, eViz looks okay for this float | Putting on non-urgent watchlist. 8/30/2024: Float reprocessed and added to the pump offset list, but also hasn't popped up since this date. | YES | YES | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2024-08-16 | 1902374 | ss4016 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | NO GPS | 500 | 1 | 16 | 15 | 5 | Cycle 15 still has no O2 | Added catch to the code so that these cycles are only brought up once if they are the most recent cycle, then never again; 8/28/2024: marking as resolved since no new profiles are missing O2 | YES | YES | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2024-08-16 | 2903456 | ua21675 | 0 | 0 | 0 | 0 | 0 | 0 | PH | REFANOM | 1500 | 34 | 43 | 37-41 | 1 | Float deviated from ref for 5 consecutive profiles but is now back in line, putting on watchlist in so that the noise is marked but this float may have self recovered; need to find a way to identify floats that recover. | Float hasn't popped back up in past 2 cycles, so marking this as a non-urgent issue | NO | YES | 15 | #N/A | #N/A | #N/A | #N/A | #N/A
2024-08-17 | 2903472 | ua21267 | 1 | 0 | 0 | 0 | 0 | 0 | PH | REFANOM | 950 | 26 | 33 | 29-33 | 2 | Float has high O2, causing the reference to decrease more than our data | Trusting the float and keep an eye on it | YES | YES | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2024-08-19 | 4903755 | ua22958 | 1 | 0 | 1 | 0 | 0 | 0 | PH | REFANOM | 1400 | 6 | 13 | 6-13 | 6 | Float has been noted with pumpoffset and corrected to 980, but hasn't been put on our list because it is being watched for declining surface data quality. | Need to discuss this float with previous QC'er, keeping as MBARI issue | NO | YES | #N/A | #N/A | #N/A | #N/A | #N/A | 7
2024-08-19 | 5906502 | ua20804 | 1 | 0 | 0 | 0 | 0 | 0 | PH | REFANOM | 1500 | 87 | 94 | 87-94 | 6 | Float is qc'd to 950m on account of having a pump offset but it was not added because the offset may be too small | Float needs to be addressed, keeping as MBARI specific issue for now | NO | YES | #N/A | #N/A | #N/A | #N/A | #N/A | 8
2024-08-19 | 5906473 | ua20912 | 0 | 0 | 0 | 0 | 0 | 0 | PH | DRIFT | 1500 | 82 | 100 | 85 | 1 | No seamounts, just fail flags on data. This is a repeat offender that needed to be brought up to the team. | Float has been reprocessed with manual changepoints and all cycles post 82 marked quest. | YES | YES | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2024-08-19 | 5906473 | ua20912 | 0 | 0 | 0 | 0 | 0 | 0 | PH | REFANOM | 1500 | 82 | 100 | 59-98 | 2 | No seamounts, just fail flags on data. This is a repeat offender that needed to be brought up to the team. | Float has been reprocessed with manual changepoints and all cycles post 82 marked quest. | YES | YES | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2024-08-19 | 5906209 | ua18739 | 0 | 0 | 0 | 0 | 0 | 0 | PH | REFANOM | 1500 | 157 | 165 | 157-165 | 2 | Float has been brought up to Josh and we've determined it has developed a pump offset in the opposite direction that needs to be addressed. | 8/30/2024: Float has been placed on P.O. list for developing offset and re-qc'd | YES | YES | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2024-08-19 | 5906208 | ua17898 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | NO GPS | 1500 | 157 | 165 | 164-165 | 5 | Most recent profile does not have a gps fix | Made a catch so that old noFix errors won't get caught | YES | YES | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2024-08-19 | 2903474 | ua19006 | 1 | 0 | 0 | 0 | 0 | 0 | PH | REFANOM | 950 | 25 | 32 | 30-32 | 2 | Float is performing well but most recent data has just peaked above the threshold, although it may correct itself over time. | Marking as non-urgent since it may pop up again | NO | YES | #N/A | 19 | #N/A | #N/A | #N/A | #N/A
2024-08-22 | 5906439 | ua19531 | 0 | 0 | 0 | 0 | 0 | 0 | PH | RNGCHK | 1500 | 113 | 121 | 117-121 | 4 | FIRST SENSOR FAILURE CATCH: float has been exceeding range checks and already flagged as bad, so RTQC code wasn't seeing it; new RTQC code uses ALL data and notified about this failure that had been going on for a month and a half. | 8/29/2024: Float reprocessed, 80-115 is questionable, 116- is FAIL | NO | YES | #N/A | #N/A | #N/A | 3 | #N/A | #N/A
2024-08-22 | 5906439 | ua19531 | 0 | 0 | 0 | 0 | 0 | 0 | PH | DRIFT | 1500 | 113 | 121 | 117-121 | 4 | FIRST SENSOR FAILURE CATCH: float has been exceeding range checks and already flagged as bad, so RTQC code wasn't seeing it; new RTQC code uses ALL data and notified about this failure that had been going on for a month and a half. | 8/29/2024: Float reprocessed, 80-115 is questionable, 116- is FAIL | NO | YES | #N/A | #N/A | #N/A | 4 | #N/A | #N/A
2024-08-22 | 5906439 | ua19531 | 0 | 0 | 0 | 0 | 0 | 0 | PH | REFANOM | 1500 | 113 | 121 | 117-121 | 4 | FIRST SENSOR FAILURE CATCH: float has been exceeding range checks and already flagged as bad, so RTQC code wasn't seeing it; new RTQC code uses ALL data and notified about this failure that had been going on for a month and a half. | 8/29/2024: Float reprocessed, 80-115 is questionable, 116- is FAIL | NO | YES | #N/A | #N/A | #N/A | 5 | #N/A | #N/A
2024-08-26 | 5906217 | ua18771 | 0 | 0 | 0 | 0 | 0 | 0 | PH | REFANOM | 1500 | 156 | 166 | 157-161 | 2 | Float has 5 consecutive cycles where is was below the ref, but has since corrected; two new cycles also breach the threshold, but I'm inclined to say that the data is good, however the diagnostics are odd and arguably not good. | Added to non-urgent watchlist | NO | YES | #N/A | 20 | #N/A | #N/A | #N/A | #N/A
2024-08-26 | 5906549 | ua21811 | 0 | 0 | 0 | 0 | 0 | 0 | N | REFANOM | 1500 | 53 | 62 | 58-62 | 2 | Nitrate drift is high (-3.8 umol/yr), but the data is very stable with linear drift, may just need updated changepoints but this high drift is also caused by wavy baseline, Josh and I experimented with different wavelength fit windows that may address the issue. increasing fit error in the NO3 spectra that may be resolved by fitting to a narrower wavelength window. | Flagging as urgent since this drift is too high and will continue to produce questionable data. | YES | YES | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2024-08-26 | 2903456 | ua21675 | 0 | 0 | 0 | 0 | 0 | 0 | PH | REFANOM | 1500 | 34 | 44 | 37-41 | 1 | Float has not gained any newly drifting data points and the reference follows changes in T, S, O2, and N very well, so pH should just be updated. | 8/30/2024: Float reprocessed | YES | YES | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2024-08-26 | 2903464 | ua1472 | 0 | 0 | 0 | 0 | 0 | 0 | PH | REFANOM | 1500 | 32 | 42 | 38-40 | 2 | Indian ocean float from before, the pH is still drifting downwards but this float should be reprocessed anyways to 1400m to account for first cycle. | Keeping as non-urgent but will try to reprocess soon. 8/30/2024: Float reprocessed | YES | YES | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2024-08-26 | 5906571 | ua21996 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | NO GPS | 1500 | 54 | 61 | 61 | 5 | Recent cycle has no GPS | 9/18/2024: Float hasn't popped back up, marking as resolved | NO | YES | #N/A | #N/A | #N/A | #N/A | 4 | #N/A
2024-08-26 | 5906314 | ua18808 | 1 | 0 | 0 | 0 | 0 | 0 | #N/A | NO GPS | 1400 | 53 | 63 | 63 | 5 | Recent cycle has no GPS | 9/18/2024: Float hasn't popped back up, marking as resolved | NO | YES | #N/A | #N/A | #N/A | #N/A | 5 | #N/A
2024-08-26 | 2903869 | ua21519 | 1 | 0 | 0 | 0 | 0 | 0 | PH | REFANOM | 950 | 28 | 36 | 33-35 | 2 | Float has since corrected back to reference, but earlier deviation is still questionable and Vk is becoming noisier, should be watched. | 8/30/2024: Float discussed with Josh and deemed that data is good, VK should be watched, but float reprocessed without adding to BSL. | YES | YES | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2024-08-27 | 2903854 | ua22213 | 0 | 1 | 0 | 0 | 0 | 0 | N | REFANOM | 1500 | 33 | 40 | 33-37 | 6 | Float needs to somehow be analyzed at deeper qc depth, caught again with same cycles because issues hasn't been resolved | Need to fix the code to address floats like this, keeping flag as CODE issue | YES | YES | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2024-08-28 | 5906502 | ua20804 | 1 | 0 | 0 | 0 | 0 | 0 | PH | REFANOM | 1500 | 87 | 95 | 87-94 | 6 | Float is qc'd to 950m on account of having a pump offset but it was not added because the offset may be too small | 8/27/2024: Float has been added to the pump offset list, but hasn't updated yet? | YES | YES | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2024-08-28 | 2903472 | ua21267 | 1 | 0 | 0 | 0 | 0 | 0 | PH | REFANOM | 950 | 26 | 34 | 29-34 | 2 | Float has high O2, causing the reference to decrease more than our data | Trusting the float and keep an eye on it; 8/29/2024: float reprocessed | YES | YES | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2024-08-28 | 7901108 | ua21026 | 1 | 0 | 0 | 0 | 0 | 0 | PH | REFANOM | 950 | 9 | 17 | 13-17 | 2 | Correction to drift needed since float's pH is starting to level out. | 8/29/2024: Reprocessed float with updated changepoints | YES | YES | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2024-08-29 | 4903755 | ua22958 | 0 | 0 | 1 | 0 | 0 | 0 | PH | REFANOM | 1400 | 6 | 14 | 6-14 | 6 | Initially qc'd to normal depth, however there is a noteable pump offset, qc note made during initial qc to watch how this float develops, but now it appears that the offset has persisted and the float needs to be added to the list. | 8/29/2024: reprocessed by Tanya and put on P.O. list | YES | YES | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2024-08-29 | 2903474 | ua19006 | 1 | 0 | 0 | 0 | 0 | 0 | PH | REFANOM | 920 | 25 | 33 | 30-33 | 2 | Float was marked on 8/19 as low urgency but the data is still deviating from reference in non-catastrophic way. Data is performing well and not a cause for concern. | 8/30/2024: data reprocessed | YES | YES | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2024-08-29 | 6990585 | ua21792 | 0 | 0 | 0 | 0 | 1 | 0 | #N/A | MISSING O2 | 1500 | 7 | 31 | 7-31 | 6 | Float has muxer issues and does not record O2 below 1000m, nor does it record N. | Propose that this float be failed or given closure on last known nitrogen cycle | YES | YES | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2024-08-30 | 5906317 | ua19067 | 1 | 0 | 0 | 0 | 0 | 0 | PH | REFANOM | 950 | 123 | 131 | 129-131 | 2 | Float has steepening drift since the last changepoint, non-urgent issue but something should be addressed | Adding to non-threatening category since this is not an urgent issue | NO | YES | #N/A | 21 | #N/A | #N/A | #N/A | #N/A
2024-08-31 | 5906250 | ua18069 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | NO GPS | 1500 | 85 | 157 | 86-157 | 5 | Bad bladder float that will continue to have spotty gps since it can't always get to the surface | Marking this as resolved since we know why the gps fixes are missing | NO | YES | #N/A | #N/A | #N/A | #N/A | 6 | #N/A
2024-08-31 | 5906245 | ua18764 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | NO GPS | 1500 | 102 | 155 | 103-155 | 5 | Bad bladder float that will continue to have spotty gps since it can't always get to the surface | Marking this as resolved since we know why the gps fixes are missing | NO | YES | #N/A | #N/A | #N/A | #N/A | 7 | #N/A
2024-09-02 | 5906473 | ua20912 | 0 | 0 | 1 | 0 | 0 | 0 | PH | REFANOM | 1500 | 82 | 98 | 83-85 | 2 | Data hasn't been flagged since last 2 cycles and data has been qc'd to a higher depth, but this float will still pop up since | Implemented a fix that should qc the float at a shallower depth without compromising other floats marking as resolved for now. | YES | YES | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2024-09-02 | 5906473 | ua20912 | 0 | 0 | 1 | 0 | 0 | 0 | PH | REFANOM | 1500 | 82 | 98 | 83-85 | 2 | Data hasn't been flagged since last 2 cycles and data has been qc'd to a higher depth, but this float will still pop up since | Implemented a fix that should qc the float at a shallower depth without compromising other floats marking as resolved for now. | YES | YES | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2024-09-03 | 5906217 | ua18771 | 0 | 0 | 0 | 0 | 0 | 0 | PH | REFANOM | 1500 | 156 | 167 | 157-161 | 2 | Float has 5 consecutive cycles where is was below the ref, but has since corrected; two new cycles also breach the threshold, but I'm inclined to say that the data is good, however the diagnostics are odd and arguably not good. | Float needs to be discussed with team | YES | YES | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2024-09-04 | 5906549 | ua21811 | 0 | 0 | 0 | 0 | 0 | 0 | N | REFANOM | 1500 | 53 | 63 | 58-63 | 2 | High Nitrate drift float | Flagging as urgent since this drift is too high and will continue to produce questionable data. | YES | YES | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2024-09-04 | 5906206 | ua18821 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | NO GPS | 1500 | 157 | 166 | 166 | 5 | Float was last seen in the Southern Ocean, nullschool says it's experience ~8m waves, so float's going through it | Marking as resolved since this isn't really an issue | YES | YES | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2024-09-04 | 5907054 | ua21977 | 0 | 0 | 0 | 0 | 1 | 0 | #N/A | NO GPS | 1500 | 10 | 19 | 19 | 5 | Float was last seen off S.E. coast of Australia with projected 5m waves, so float's also going through it. | Marking as resolved since this isn't a catastrophic issue | NO | YES | #N/A | #N/A | #N/A | #N/A | 8 | #N/A
2024-09-06 | 1902494 | wn1557 | 1 | 0 | 0 | 0 | 0 | 0 | #N/A | NO GPS | 950 | 11 | 23 | 23 | 5 | Float is also probably experiencing winter storms in S. Ocean. pH appears to have high deviation from reference and should be updated. | 9/11/2024: Float has been reprocessed | NO | YES | #N/A | #N/A | #N/A | #N/A | 9 | #N/A
2024-09-06 | 1902494 | wn1557 | 1 | 0 | 0 | 0 | 0 | 0 | PH | REFANOM | 950 | 11 | 23 | 13-21 | 2 | pH appears to have high deviation from reference and should be updated. | 9/11/2024: Float has been reprocessed | NO | YES | #N/A | 22 | #N/A | #N/A | #N/A | #N/A
2024-09-07 | 2903854 | ua22213 | 0 | 0 | 0 | 0 | 0 | 0 | N | REFANOM | 1500 | 33 | 41 | 33-37 | 6 | Float has shallow profiles in the beginning but deeper profiles after last changepoint, RTQC uses the deeper depth, but data is qc'd to 600-800m to account for shallows | Need to look into this float but flagging as CODE SPECIFIC issue | YES | YES | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2024-09-07 | 5906316 | ua19085 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | NO GPS | 1400 | 124 | 133 | 133 | 5 | S. Ocean float that's likely experiencing high waves | Marking as resolved since it's non-catastrophic | NO | YES | #N/A | #N/A | #N/A | #N/A | 10 | #N/A
2024-09-07 | 2903453 | ua21902 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | NO GPS | 1400 | 41 | 52 | 52 | 5 | S. Ocean float that's likely experiencing high waves | Marking as resolved since it's non-catastrophic | NO | YES | #N/A | #N/A | #N/A | #N/A | 11 | #N/A
2024-09-07 | 5906569 | ua20962 | 0 | 0 | 0 | 0 | 0 | 0 | PH | REFANOM | 500 | 41 | 46 | 41-45 | 2 | Float has pH that has already been marked as bad on cycle 46, but last good node is on cycle 41, leaving questionable data in between. | Waiting for input from last QC'er. Intution is to change BSL to cycle 41 | NO | NO | #N/A | 23 | #N/A | #N/A | #N/A | #N/A
2024-09-08 | 1902497 | wn1560 | 0 | 0 | 0 | 0 | 0 | 0 | PH | RNGCHK | 1500 | 10 | 21 | 21 | 4 | Float off the W. African coast, pH begins to deviate at cycle 20 and has full on failure at cycle 21, salinity also hiccups on 21 around 178-188m | Marking as a true failure, but one more cycle will truly seal this float's fate. | NO | YES | #N/A | #N/A | #N/A | 6 | #N/A | #N/A
2024-09-08 | 6990585 | ua21792 | 0 | 0 | 0 | 0 | 1 | 0 | #N/A | MISSING O2 | 1500 | 7 | 32 | 7-32 | 6 | Float has muxer issues and does not record O2 below 1000m, nor does it record N. | 9/11/2024: Float has been reprocessed to most recent N cycle AND code has finally been updated to include an exception for this specific float | YES | YES | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2024-09-08 | 5906293 | ua19139 | 0 | 0 | 0 | 0 | 0 | 0 | N | REFANOM | 1000 | 141 | 160 | 156-158 | 2 | PNW float, grounds itself on more recent cycles so qc depth is at 1000m, cycle 132 missing T,S, and O2, float has higher negative drift in more recent cycles | 9/11/2024: Float has been reprocessed | NO | YES | #N/A | 24 | #N/A | #N/A | #N/A | #N/A
2024-09-09 | 1902368 | ss4010 | 0 | 0 | 0 | 0 | 0 | 0 | PH | REFANOM | 1500 | 12 | 20 | 14-20 | 2 | Needs some manually adjusted changepoints since the SOLO "shallow cycling" makes qc difficult | 9/11/2024: Float has been reprocessed | NO | YES | #N/A | 25 | #N/A | #N/A | #N/A | #N/A
2024-09-09 | 1902489 | wn1529 | 1 | 0 | 0 | 0 | 0 | 0 | PH | REFANOM | 950 | 7 | 13 | 9-13 | 2 | Float just needs a re-qc to adjust for initial drift, pump offset float | 9/11/2024: Float has been reprocessed | NO | YES | #N/A | 26 | #N/A | #N/A | #N/A | #N/A
2024-09-09 | 5906317 | ua19067 | 1 | 0 | 0 | 0 | 0 | 0 | PH | REFANOM | 950 | 123 | 132 | 129-132 | 2 | Float has steepening drift since the last changepoint, non-urgent issue but something should be addressed | 9/11/2024: Float has been reprocessed | YES | YES | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2024-09-09 | 5906249 | ua18321 | 0 | 0 | 0 | 0 | 1 | 0 | #N/A | NO GPS | 1500 | 147 | 159 | 159 | 5 | S. Ocean float that's likely experiencing high waves | Marking as non-resolved as it pops back up again | NO | YES | #N/A | #N/A | #N/A | #N/A | 12 | #N/A
2024-09-11 | 5906440 | ua19107 | 0 | 0 | 0 | 0 | 0 | 0 | PH | REFANOM | 1500 | 116 | 127 | 125-127 | 2 | pH deviated from reference but just needed updated nodes in the qc, has a masked pump offset that doesn't need to be corrected since the data actually looks better when corrected to 1500m. | 9/13/2024: Float has been reprocessed | NO | YES | #N/A | 27 | #N/A | #N/A | #N/A | #N/A
2024-09-12 | 5906218 | ua18081 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | NO GPS | 1500 | 137 | 160 | 160 | 5 | Float is caught in higher winds in the S. ocean next to Australia | Not yet resolved, keeps popping up with no GPS | NO | YES | #N/A | #N/A | #N/A | #N/A | 13 | #N/A
2024-09-13 | 3902533 | ss4018 | 0 | 0 | 0 | 0 | 0 | 0 | N | REFANOM | 1500 | 14 | 18 | 14-18 | 2 | This is a SOLO float that had a shallow, high sample rate cycling program for the first 8 cycles. Creates a very awkward and unique profile time series that is not easily corrected to depth because of first shallow profiles. |  | NO | YES | #N/A | 28 | #N/A | #N/A | #N/A | #N/A
2024-09-13 | 5906217 | ua18771 | 0 | 0 | 0 | 0 | 0 | 0 | PH | REFANOM | 1500 | 156 | 168 | 157-161 | 2 | Float has 5 consecutive cycles where is was below the ref, but has since corrected; two new cycles also breach the threshold, but I'm inclined to say that the data is good, however the diagnostics are odd and arguably not good. | 9/17/2024: Float reprocessed | YES | YES | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2024-09-14 | 5906549 | ua21811 | 0 | 0 | 0 | 0 | 0 | 0 | N | REFANOM | 1500 | 53 | 64 | 58-64 | 2 | Nitrate drift is high (-3.8 umol/yr), but the data is very stable with linear drift, may just need updated changepoints but this high drift is also caused by wavy baseline, Josh and I experimented with different wavelength fit windows that may address the issue, increasing fit error in the NO3 spectra that may be resolved by fitting to a narrower wavelength window. | 9/17/2024: Float reprocessed | YES | YES | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2024-09-14 | 1902666 | ss4017 | 0 | 0 | 0 | 0 | 0 | 0 | PH | REFANOM | 500 | 1 | 18 | 16-18 | 2 | Rapid shallow profiling float, no previous nodes had been placed during initial qc to wait for deeper data, so data deviated from the reference. | 9/14/2024: Updated with new changepoints | NO | YES | #N/A | 29 | #N/A | #N/A | #N/A | #N/A
2024-09-14 | 5907054 | ua21977 | 0 | 0 | 0 | 0 | 1 | 0 | N | REFANOM | 1500 | 10 | 20 | 18-20 | 2 | Float has relatively high drift of -2 umol/year and N eventually deviated from the reference, however, updating the O2 gain actually brought the reference closer to the three points, but still updating the nodes for this float. | 9/14/2024: Updated N with new chpts, pH already marked bad. | NO | YES | #N/A | 30 | #N/A | #N/A | #N/A | #N/A
2024-09-15 | 7901103 | un1571 | 1 | 0 | 0 | 0 | 0 | 0 | PH | REFANOM | 950 | 8 | 14 | 10-14 | 2 | pH deviates from reference after initial qc due to sensor acclimation in the dynamic Drake Passage | 9/16/2024: Float reprocessed | NO | YES | #N/A | 31 | #N/A | #N/A | #N/A | #N/A
2024-09-15 | 1902374 | ss4016 | 0 | 0 | 0 | 0 | 0 | 0 | N | REFANOM | 500 | 1 | 19 | 13-18 | 2 | Rapid shallow profiling float that had no previous qc nodes in order to wait for more deep data. Float just needed to be re-qc'd now that we have 10 cycles of good data. | 9/16/2024: Float reprocessed | NO | YES | #N/A | 32 | #N/A | #N/A | #N/A | #N/A
2024-09-15 | 1902374 | ss4016 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | NO GPS | 1500 | 1 | 19 | 19 | 5 | Float still has no gps, but the previous cycles find their fixes | 9/16/2024: Float reprocessed | YES | YES | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2024-09-15 | 6990587 | ua22537 | 1 | 0 | 0 | 0 | 0 | 0 | PH | REFANOM | 950 | 15 | 25 | 22-25 | 2 | Float data continues on a negative slope trajectory while the reference starts to increase following O2 and salinity. | 9/17/2024: Float reprocessed | NO | YES | #N/A | 33 | #N/A | #N/A | #N/A | #N/A
2024-09-16 | 5906468 | ua20132 | 1 | 0 | 0 | 0 | 0 | 0 | PH | REFANOM | 950 | 91 | 101 | 99-101 | 2 | Float off of Baja, pH appears to be "stepping" downwards at a very high rate, pH at 7.4 so may hit range check soon. | Marking as questionable although it could turn into a fail soon. 10/17/2024: float reprocessed | NO | YES | #N/A | 34 | #N/A | #N/A | #N/A | #N/A
2024-09-16 | 5906207 | ua19013 | 1 | 1 | 0 | 0 | 0 | 0 | PH | REFANOM | 950 | 140 | 167 | 165-167 | 2 | Used to be a false positive for cycle 163 | Marking as a NEW SUSPECT issue since the previous catch was actually a false alarm. not appear to be so. 10/17/2024: float reprocessed. | NO | YES | #N/A | 35 | #N/A | #N/A | #N/A | #N/A
2024-09-16 | 4903751 | ua21986 | 0 | 0 | 0 | 0 | 0 | 0 | N | RNGCHK | 1500 | 6 | 18 | 18 | 4 | Not a full sensor failure by the looks of it, but a few bad points in the most recent profile | Marking as fail for now, but waiting to see if issue continues | NO | NO | #N/A | #N/A | #N/A | 7 | #N/A | #N/A
2024-09-17 | 2903854 | ua22213 | 0 | 1 | 0 | 0 | 0 | 0 | N | REFANOM | 1500 | 33 | 42 | 33-37 | 6 | Float has shallow profiles in the beginning but deeper profiles after last changepoint, RTQC uses the deeper depth, but data is qc'd to 600-800m to account for shallows | Need to look into this float but flagging as CODE SPECIFIC issue | YES | YES | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2024-09-18 | 7902103 | un1534 | 0 | 0 | 0 | 0 | 0 | 0 | PH | REFANOM | 1500 | 6 | 8 | 6-8 | 6 | Float was on the pump offset list but I was loading the local PO list, not the one on CHEM. There's actually nothing wrong with this float, although it is starting to drift, just not past the thresholds. | Marked as a resolved MBARI/CODE issue | NO | YES | #N/A | #N/A | #N/A | #N/A | #N/A | 9
2024-09-18 | 3902559 | ua17465 | 0 | 0 | 0 | 0 | 0 | 0 | PH | REFANOM | 1500 | 92 | 113 | 111-113 | 2 | Float was initally flagged at cycles 100-101 and deemed a false alarm, a lot of time has since passed. | Marking as suspect since these cycles are new. 10/17/2024: float reprocessed | NO | YES | #N/A | 36 | #N/A | #N/A | #N/A | #N/A
2024-09-18 | 5906569 | ua20962 | 0 | 0 | 0 | 0 | 0 | 0 | PH | REFANOM | 500 | 41 | 46 | 41-45 | 2 | Float has pH that has already been marked as bad on cycle 46, but last good node is on cycle 41, leaving questionable data in between. | Waiting for input from last QC'er. Intution is to change BSL to cycle 41 | YES | NO | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2024-09-19 | 4903755 | ua22958 | 0 | 0 | 1 | 0 | 0 | 0 | PH | REFANOM | 1400 | 14 | 16 | 14-16 | 6 | Float should not have popped up because it has been added to the pump offset list and I hadn't updated my list off of Chem directory. | Marking as coding | YES | YES | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2024-09-19 | 5906562 | ua19993 | 1 | 0 | 0 | 0 | 0 | 0 | PH | REFANOM | 950 | 48 | 60 | 58-60 | 1 | Float would no longer get triggered with the new thresholds for pH refanom. | 10/17/2024: marking this as a resolved false alarm for now. | NO | YES | 16 | #N/A | #N/A | #N/A | #N/A | #N/A
2024-09-19 | 1902368 | ss4010 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | MISSING O2 | 1500 | 20 | 21 | 21 | 5 | For cycle 21, S, O2, and other parameters except for Temp are missing |  | NO | NO | #N/A | #N/A | #N/A | #N/A | 14 | #N/A
2024-09-20 | 5907052 | ua21499 | 0 | 0 | 0 | 0 | 0 | 0 | PH | REFANOM | 1300 | 8 | 20 | 13-17 | 2 | Float has slight pump offset in earlier cycles that appears to dissipate by cycle 15. Still a true catch that needs to be addressed but something that is easily fixable. | 10/17/2024: float reprocessed | NO | YES | #N/A | 37 | #N/A | #N/A | #N/A | #N/A
2024-09-20 | 5906249 | ua18321 | 0 | 0 | 0 | 0 | 1 | 0 | #N/A | NO GPS | 1500 | 147 | 160 | 159-160 | 5 | Two consecutive cycles with no gps |  | YES | YES | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2024-09-21 | 2903865 | ua21865 | 0 | 0 | 0 | 0 | 0 | 0 | PH | REFANOM | 1500 | 7 | 19 | 17-19 | 2 | Not necessarily a false alarm since the refanom is still high, but not something that needs to be corrected at the moment. | 10/17/2024: Leaving as questionable catch but not correcting, marking as resolved for now. | NO | YES | #N/A | 38 | #N/A | #N/A | #N/A | #N/A
2024-09-22 | 5906503 | ua20144 | 0 | 0 | 0 | 0 | 1 | 0 | N | REFANOM | 1500 | 87 | 97 | 95-97 | 1 | This float is now starting to drift back the other direction and would not be caught with current thresholds | 10/17/2024: Marking as resolved and making a false alarm | NO | YES | 17 | #N/A | #N/A | #N/A | #N/A | #N/A
2024-09-22 | 4903273 | wn1200 | 0 | 0 | 0 | 1 | 0 | 1 | PH | REFANOM | 500 | 24 | 28 | 24-27 | 6 |  |  | YES | NO | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2024-09-23 | 3902559 | ua17465 | 0 | 0 | 0 | 0 | 0 | 0 | PH | REFANOM | 1500 | 92 | 114 | 111-114 | 2 |  |  | YES | YES | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2024-09-23 | 5906218 | ua18081 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | NO GPS |  | 137 | 161 | 160-161 | 5 |  |  | YES | YES | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2024-09-24 | 5906235 | ua18820 | 0 | 0 | 0 | 0 | 0 | 0 | PH | REFANOM | 1500 | 151 | 165 | 163-165 | 2 | pH deviates from reference by +.015 which fairly high for the last 4 cycles, but corrected data looks great. | Marking as suspect since the deviation is just too high to say it's a false alarm. 10/17/2024: float reprocessed. | NO | YES | #N/A | 39 | #N/A | #N/A | #N/A | #N/A
2024-09-24 | 1902666 | ss4017 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | MISSING O2 |  | 18 | 19 | 19 | 5 | For cycle 19, salinity, O2, and other parameters stop being recorded below 1000m, should be watched | KEEP AN EYE ON THIS FLOAT | NO | NO | #N/A | #N/A | #N/A | #N/A | 15 | #N/A
2024-09-25 | 2903866 | un1572 | 0 | 0 | 0 | 0 | 0 | 0 | PH | REFANOM | 1500 | 6 | 17 | 14-16 | 2 | While this float has not popped up for refanom since this catch, it is already continuing to drift in the same direction. going to update this floats qc since it is a young float that will likely pop up soon. | 10/17/2024: Reprocessing with updated coefficients and also adding to the pump offset list. | NO | YES | #N/A | 40 | #N/A | #N/A | #N/A | #N/A
2024-09-25 | 5906206 | ua18821 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | NO GPS |  | 157 | 168 | 166-168 | 5 | Float is still in a very stormy area and is failing to get gps signals, but this may be due to environmental factors. | Keeping as resolved | YES | YES | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2024-09-25 | 6990588 | ua2106 | 1 | 0 | 0 | 0 | 0 | 0 | PH | REFANOM | 950 | 9 | 20 | 18-20 | 2 |  |  | NO | NO | #N/A | 41 | #N/A | #N/A | #N/A | #N/A
2024-09-26 | 4903751 | ua21986 | 0 | 0 | 0 | 0 | 0 | 0 | N | RNGCHK | 1500 | 6 | 19 | 18-19 | 4 | Float has previous range check failure on nitrate. | Marking as unresolved failure for now. | YES | NO | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2024-09-26 | 5906207 | ua18013 | 1 | 1 | 0 | 0 | 0 | 0 | #N/A | NO GPS |  | 140 | 168 | 168 | 5 | SO float so may have some issues getting to surface in high surf. |  | NO | YES | #N/A | #N/A | #N/A | #N/A | 16 | #N/A
2024-09-26 | 5906207 | ua18013 | 1 | 1 | 0 | 0 | 0 | 0 | PH | REFANOM | 950 | 140 | 168 | 165-167 | 2 | Same issue as before but the refanom isn't getting worse, may be a candidate for a false alarm given the new threshold that requires 4 CONSECUTIVE CYCLES, not 3. |  | YES | YES | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2024-09-26 | 5906484 | ua20175 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | NO GPS |  | 84 | 96 | 96 | 5 |  |  | NO | NO | #N/A | #N/A | #N/A | #N/A | 17 | #N/A
2024-09-26 | 5906468 | ua20132 | 1 | 0 | 0 | 0 | 0 | 0 | PH | REFANOM | 950 | 91 | 102 | 98-102 | 2 | Float off of Baja, pH appears to be "stepping" downwards at a very high rate, pH at 7.4 so may hit range check soon. | Marking as questionable although it could turn into a fail soon. | YES | YES | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2024-09-27 | 2903854 | ua22213 | 0 | 1 | 0 | 0 | 0 | 0 | N | REFANOM | 1500 | 33 | 43 | 33-37 | 6 |  | 10/1/2024: made an exception for this float in the code so it shouldn't pop up anymore | YES | YES | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2024-09-27 | 5906521 | ua20620 | 1 | 0 | 0 | 0 | 0 | 0 | PH | DRIFT | 950 | 71 | 83 | 81-83 | 4 | Float starting to erroneously drift, but waiting for more cycles for final decision | 10/7/2024: Float continues to have worsening drift, marking these points as failure | NO | YES | #N/A | #N/A | #N/A | 8 | #N/A | #N/A
2024-09-27 | 5906521 | ua20620 | 1 | 0 | 0 | 0 | 0 | 0 | PH | REFANOM | 950 | 71 | 83 | 81-83 | 4 | Float starting to erroneously drift, but waiting for more cycles for final decision | 10/7/2024: Float continues to have worsening drift, marking these points as failure, calling this a "repeat" so the same failure doesn't get counted twice. | NO | YES | #N/A | #N/A | #N/A | 9 | #N/A | #N/A
2024-09-27 | 1902458 | wn1486 | 0 | 0 | 0 | 0 | 0 | 0 | PH | REFANOM | 1500 | 35 | 48 | 46-48 | 2 |  |  | NO | NO | #N/A | 42 | #N/A | #N/A | #N/A | #N/A
2024-09-28 | 3902559 | ua17465 | 0 | 0 | 0 | 0 | 0 | 0 | PH | REFANOM | 1500 | 92 | 115 | 111-115 | 2 | Float is continuing to drift from reference until it is qc'd | Float is continuing to drift from reference until it is qc'd | YES | YES | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2024-09-28 | 1902497 | wn1560 | 0 | 0 | 0 | 0 | 0 | 0 | PH | RNGCHK | 500 | 10 | 23 | 21-23 | 4 | Float was caught for a range check on cycle 21 and now continuously fails | 10/1/2024: pH added to BSL at cycle 18 | YES | YES | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2024-09-28 | 1902497 | wn1560 | 0 | 0 | 0 | 0 | 0 | 0 | PH | DRIFT | 500 | 10 | 23 | 19-21 | 4 | Float was caught for a range check on cycle 21, but has since failed the drift test on cycle 19, but was not caught | 10/1/2024: pH added to BSL at cycle 18 | NO | YES | #N/A | #N/A | #N/A | 10 | #N/A | #N/A
2024-09-28 | 5906213 | ua18320 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | NO GPS |  | 156 | 170 | 170 | 5 | Bad bladder float in the Argentine Basin | Marking as resolved since the cause of this issue is known | NO | YES | #N/A | #N/A | #N/A | #N/A | 18 | #N/A
2024-09-30 | 5907052 | ua21499 | 0 | 0 | 0 | 0 | 0 | 0 | PH | REFANOM | 1300 | 8 | 21 | 13-17 | 2 | Float has not continued to drift but has cycles that should be qc'd |  | YES | YES | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2024-09-30 | 5906249 | ua18321 | 0 | 0 | 0 | 0 | 1 | 0 | N | RNGCHK | 1500 | 147 | 161 | 161 | 4 | Some samples near the surface are egregious, entire profile also shifted upwards | Marking as a new failure for now | NO | NO | #N/A | #N/A | #N/A | 11 | #N/A | #N/A
2024-09-30 | 3902557 | ua23596 | 0 | 0 | 0 | 0 | 1 | 0 | #N/A | NO GPS |  | 12 | 24 | 24 | 5 | No recent GPS signal |  | NO | NO | #N/A | #N/A | #N/A | #N/A | 19 | #N/A
2024-09-30 | 5906562 | ua19993 | 1 | 0 | 0 | 0 | 0 | 0 | PH | REFANOM | 950 | 48 | 61 | 58-61 | 1 | Given the new thresholds for pH refanom, this float would not have been triggered, old corrections look really good at the surface and depth also looks fine when compared to the average profile. | 10/17/2024: marking this as a resolved false alarm for now. | YES | YES | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2024-10-01 | 5906250 | ua18069 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | NO GPS |  | 85 | 160 | 86-160 | 5 | Float has several missing gps fixes after cycle 85, bad bladder maybe? |  | YES | NO | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2024-10-01 | 5906250 | ua18069 | 0 | 0 | 0 | 0 | 0 | 0 | PH | DRIFT | 1500 | 85 | 160 | 105-143 | 6 | Float has been qc'd to cycle 85 but can't be qc'd afterwards because of lack of gps fixes. The ph drift is a new flag. | Marking as an internal issue since this float is missing gps, so no concept of what is real or not. | NO | NO | #N/A | #N/A | #N/A | #N/A | #N/A | 10
2024-10-01 | 5906570 | ua21900 | 1 | 1 | 0 | 0 | 0 | 0 | N | DRIFT | 1500 | 61 | 66 | 62-64 | 2 | Float was previously corrected for higher refanom but has since started to fail sensor drift tests. |  | NO | NO | #N/A | 43 | #N/A | #N/A | #N/A | #N/A
2024-10-01 | 5906524 | ua20644 | 0 | 0 | 0 | 0 | 1 | 0 | #N/A | NO GPS |  | 71 | 84 | 84 | 5 | Float is just missing recent cycle of GPS |  | NO | NO | #N/A | #N/A | #N/A | #N/A | 20 | #N/A
2024-10-02 | 5906487 | ua19806 | 0 | 0 | 0 | 0 | 0 | 0 | PH | DRIFT | 1500 | 79 | 94 | 90-92 | 1 |  | Marking as a resolved coding issue because this is a false alarm. | NO | YES | 18 | #N/A | #N/A | #N/A | #N/A | #N/A
2024-10-03 | 1902371 | ss4013 | 0 | 0 | 0 | 0 | 0 | 0 | N | REFANOM | 300 | 1 | 37 | 13-37 | 6 | Nitrate has not yet been qc'd, but since this is a solo float it starts shallow and needs to be adjusted properly for depth |  | NO | NO | #N/A | #N/A | #N/A | #N/A | #N/A | 11
2024-10-03 | 5906473 | ua20912 | 0 | 0 | 1 | 0 | 0 | 0 | PH | DRIFT | 1150 | 82 | 101 | 87-91 | 2 | Float needs to be re-qc'd to a new depth since the last set depth is not longer performing well |  | YES | NO | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2024-10-03 | 5906473 | ua20912 | 0 | 0 | 1 | 0 | 0 | 0 | PH | REFANOM | 1150 | 82 | 101 | 84-89 | 2 | Float needs to be re-qc'd to a new depth since the last set depth is not longer performing well |  | YES | NO | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2024-10-07 | 2903854 | ua22213 | 0 | 1 | 0 | 0 | 0 | 0 | N | DRIFT | 700 | 33 | 44 | 35-44 | 6 | The attempted fixes for this float have not worked, and this float should be re-qc'd with different depths |  | YES | NO | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2024-10-07 | 2903854 | ua22213 | 0 | 1 | 0 | 0 | 0 | 0 | N | REFANOM | 700 | 38 | 43 | 35-44 | 6 | The attempted fixes for this float have not worked, and this float should be re-qc'd with different depths |  | YES | NO | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2024-10-07 | 5906521 | ua20620 | 1 | 0 | 0 | 0 | 0 | 0 | PH | DRIFT | 950 | 71 | 84 | 81-84 | 4 | pH data is now drifting at exponentially increasing rate, likely a failure | 10/10/2024: Float reprocessed and added onto the BSL at cycle 80- | YES | YES | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2024-10-07 | 5906521 | ua20620 | 1 | 0 | 0 | 0 | 0 | 0 | PH | REFANOM | 950 | 71 | 84 | 81-84 | 4 | pH data is now drifting at exponentially increasing rate, likely a failure | 10/10/2024: Float reprocessed and added onto the BSL at cycle 80- | YES | YES | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2024-10-07 | 5906468 | ua20132 | 1 | 0 | 0 | 0 | 0 | 0 | PH | REFANOM | 950 | 91 | 103 | 98-103 | 2 | Float has really high negative drift that appears to be "stepping" downwards. Currently at 7.4 pH, so at it's current rate it will hit the range checks in a few cycles. | Should be adjusted to most recent cycle, but future cycles may be worth labelling as questionable | YES | YES | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2024-10-07 | 4903751 | ua21986 | 0 | 0 | 0 | 0 | 0 | 0 | N | RNGCHK | 1500 | 6 | 20 | 18-20 | 4 | Float now has 3 successive range check failures in the surface, but the bottom data looks good. Not sure how to handle a float that's failing exclusively in the surface. |  | YES | NO | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2024-10-07 | 1902374 | ss4016 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | NO GPS | 1500 | 1 | 21 | 21 | 5 | Float still has no gps, but the previous cycles find their fixes | 9/16/2024: Float reprocessed | YES | NO | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2024-10-07 | 5906533 | ua20728 | 0 | 0 | 0 | 0 | 0 | 0 | PH | DRIFT | 1200 | 67 | 81 | 68-70 | 1 | pH data increases at an anomalously high rate, but this increase is captured by the reference, marking as a false alarm but this shouldn't have been caught using paired sensor drift and refanom test. | Making a change so that breached tests must be on the most recent cycle so that false alarms from months ago like this one don't keep popping up. Marking as repeat false alarm. | YES | YES | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2024-10-07 | 5906235 | ua18820 | 0 | 0 | 0 | 0 | 0 | 0 | PH | REFANOM | 1500 | 151 | 166 | 163-166 | 2 | pH deviates from reference by +.015 which fairly high for the last 4 cycles, but corrected data looks great. | Keeping as a suspect float | YES | YES | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2024-10-07 | 3902559 | ua17465 | 0 | 0 | 0 | 0 | 0 | 0 | PH | REFANOM | 1500 | 92 | 116 | 111-116 | 2 | Float is continuing to drift from reference and will continue to worsen until qc'd. | Keeping as a suspect float | YES | YES | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2024-10-08 | 1902304 | wn1203 | 0 | 0 | 0 | 0 | 1 | 0 |  | NO GPS | 1000 | 152 | 177 | 177 | 5 | Float has a failed pH sensor, possibly bad bladder? |  | NO | NO | #N/A | #N/A | #N/A | #N/A | 21 | #N/A
2024-10-08 | 5906213 | ua18320 | 0 | 0 | 0 | 0 | 0 | 0 |  | NO GPS | 1500 | 156 | 171 | 157-171 | 5 | Continously failing gps fix, bad bladded float marked by Tanya. | Marking as resolved since we know what's causing the issue. | YES | YES | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2024-10-09 | 5906438 | ua19129 | 0 | 0 | 0 | 0 | 1 | 0 | N | REFANOM | 1500 | 112 | 125 | 121-125 | 2 | Nitrate throughout the entire profile starts to decline. This is a bad bladder float with failed pH already, this N sensor could be failing too. Nviz diagnostics also not looking good for this float | Marking as suspect until further review | NO | YES | #N/A | 44 | #N/A | #N/A | #N/A | #N/A
2024-10-09 | 5906339 | ua19588 | 0 | 0 | 0 | 0 | 1 | 0 | N | REFANOM | 1500 | 114 | 128 | 120-128 | 2 | This float is also appears to be failing from recent cycles, but upwards. Not sure if bad bladder or just warn tropical float that has trouble getting to the surface. | Marking as suspect, but also a candidate for failure. | NO | YES | #N/A | 45 | #N/A | #N/A | #N/A | #N/A
2024-10-09 | 3902559 | ua17465 | 0 | 0 | 0 | 0 | 0 | 0 | PH | REFANOM | 1500 | 92 | 117 | 111-117 | 2 | Float that was previously a false alarm. Float data looks good, very high pH drift but it's stable and linear so no concerns. | Marking as suspect because it just needs to be re-qc'd. | YES | YES | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2024-10-11 | 5906249 | ua18321 | 0 | 0 | 0 | 0 | 1 | 0 | N | RNGCHK | 1500 | 147 | 162 | 161-162 | 4 | Now there are range check breaching samples throughout the entire profile | Yet another float to keep an eye on. | YES | NO | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2024-10-12 | 5906235 | ua18820 | 0 | 0 | 0 | 0 | 0 | 0 | PH | REFANOM | 1500 | 151 | 167 | 163-167 | 2 | pH deviates from reference by +.015 which fairly high for the last 4 cycles, but corrected data looks great. | Marking as suspect since the deviation is just too high to say it's a false alarm. | YES | YES | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2024-10-12 | 3902559 | ua17465 | 0 | 0 | 0 | 0 | 0 | 0 | PH | REFANOM | 1500 | 92 | 118 | 111-118 | 2 | Float that was previously a false alarm. Float data looks good, very high pH drift but it's stable and linear so no concerns. | Marking as suspect because it just needs to be re-qc'd. | YES | YES | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2024-10-13 | 5906517 | ua20842 | 1 | 0 | 0 | 0 | 0 | 0 |  | NO GPS | 950 | 69 | 81 | 81 | 5 | Float has had noisy data in the past but is now missing a cycle |  | NO | NO | #N/A | #N/A | #N/A | #N/A | 22 | #N/A
2024-10-13 | 1902371 | ss4013 | 0 | 0 | 0 | 0 | 0 | 0 | N | REFANOM | 300 | 1 | 38 | 13-38 | 6 | Nitrate has not yet been qc'd, but since this is a solo float it starts shallow and needs to be adjusted properly for depth |  | YES | NO | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2024-10-14 | 5906524 | ua20644 | 0 | 0 | 0 | 0 | 1 | 0 |  | NO GPS | 1500 | 71 | 85 | 84-85 | 5 | Second consecutive cycle that has been missing GPS |  | YES | NO | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2024-10-15 | 7902100 | ua22127 | 0 | 0 | 0 | 0 | 0 | 0 | PH | DRIFT | 1400 | 8 | 17 | 15-17 | 2 | Cycle 15 has a large spike in pH that may be caused by larger shift in temperature, cycle 17 has a smaller shift in pH. The spike on cycle 15 looks to propogate up the profile, whereas the blip on cycle 17 may be caused by variable conditrions associated with Drake Passage. Vk starting to show a small downturn. | Marking as questionable for now, although this float should be watched. | NO | NO | #N/A | 46 | #N/A | #N/A | #N/A | #N/A
2024-10-16 | 5906207 | ua18013 | 1 | 1 | 0 | 0 | 0 | 0 |  | NO GPS | 1500 | 157 | 170 | 170 | 5 | Float is in the SO and has a recent missing GPS, but has missed several other cycles of GPS. Also has a refernece anomaly issue that shouuld be handled, though this is an old catch that is unrelated. | Marking as resolved since the gps from previous cycles was found. | YES | YES | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2024-10-16 | 4903751 | ua21986 | 0 | 0 | 0 | 0 | 0 | 0 | N | RNGCHK | 1500 | 6 | 21 | 18-21 | 4 | Float now has 4 successive range check failures in the surface, but the bottom data looks good. Not sure how to handle a float that's failing exclusively in the surface. |  | YES | NO | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2024-10-16 | 1902494 | wn1557 | 1 | 0 | 0 | 0 | 0 | 0 |  | NO GPS | 1500 | 22 | 27 | 27 | 5 | Float has been reprocessed recently and is just missing a most recent GPS fix. | Marking as a non-repeat since this is happening after last QC | NO | NO | #N/A | #N/A | #N/A | #N/A | 23 | #N/A
2024-10-17 | 5906339 | ua19588 | 0 | 0 | 0 | 0 | 1 | 0 | N | REFANOM | 1500 | 114 | 129 | 120-129 | 2 | This float is also appears to be failing from recent cycles, but upwards. Not sure if bad bladder or just warn tropical float that has trouble getting to the surface. | Marking as suspect, but also a candidate for failure. 10/28/2024: reprocessed | YES | YES | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2024-10-18 | 7902103 | un1534 | 1 | 0 | 0 | 0 | 0 | 0 |  | NO GPS | 1500 | 6 | 11 | 11 | 5 | Float previously caught for having an unlisted pump offset. Performance still good, but now has recent missing gps |  | NO | NO | #N/A | #N/A | #N/A | #N/A | 24 | #N/A
2024-10-19 | 5906438 | ua19129 | 0 | 0 | 0 | 0 | 1 | 0 | N | REFANOM | 1500 | 112 | 126 | 121-126 | 2 | Nitrate throughout the entire profile starts to decline. This is a bad bladder float with failed pH already, this N sensor could be failing too. Nviz diagnostics also not looking good for this float | Marking as suspect until further review. 10/28/2024: reprocessed | YES | YES | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2024-10-20 | 5906249 | ua18321 | 0 | 0 | 0 | 0 | 1 | 0 | N | RNGCHK | 1500 | 147 | 162 | 161-162 | 4 | Now there are range check breaching samples throughout the entire profile | Yet another float to keep an eye on. | YES | NO | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2024-10-21 | 5906307 | un1115 | 0 | 0 | 0 | 0 | 0 | 0 | N | DRIFT | 1500 | 126 | 139 | 137-139 | 2 | Float has large jumps in nitrate, appears to be oscillating over large range in data. | Waiting for another cycle to see if these two points are just anomalies. | NO | NO | #N/A | 47 | #N/A | #N/A | #N/A | #N/A
2024-10-22 | 1902371 | ss4013 | 0 | 0 | 0 | 0 | 0 | 0 | N | REFANOM | 300 | 1 | 39 | 13-39 | 6 | Nitrate has not yet been qc'd, but since this is a solo float it starts shallow and needs to be adjusted properly for depth |  | YES | NO | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2024-10-23 | 4903744 | un1519 | 0 | 0 | 0 | 0 | 0 | 0 |  | NO GPS | 1500 | 26 | 39 | 39 | 5 | NO GPS on recent cycle |  | NO | NO | #N/A | #N/A | #N/A | #N/A | 25 | #N/A
2024-10-26 | 4903751 | ua21986 | 0 | 0 | 0 | 0 | 0 | 0 | N | RNGCHK | 1500 | 6 | 22 | 18-22 | 4 | Float now has 4 successive range check failures in the surface, but the bottom data looks good. Not sure how to handle a float that's failing exclusively in the surface. |  | YES | NO | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2024-10-26 | 1902494 | wn1557 | 1 | 0 | 0 | 0 | 0 | 0 |  | NO GPS | 1500 | 22 | 28 | 27-28 | 5 | Float has been reprocessed recently and is just missing a most recent GPS fix. | Marking as a non-repeat since this is happening after last QC | YES | NO | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2024-10-27 | 5906435 | ua19512 | 0 | 0 | 0 | 0 | 0 | 0 | PH | DRIFT | 1500 | 116 | 131 | 129-131 | 2 | Float has pH data that is showing signs of steady decline. Only diagnostic that supports this is VRS, which is also starting to decline. Possible indication of sensor degradation. | Not marking this as a failure yet, but float shoulud definitely be watched. | NO | NO | #N/A | 48 | #N/A | #N/A | #N/A | #N/A
2024-10-28 | 1902368 | ss4010 | 0 | 0 | 0 | 0 | 0 | 0 | PH | REFANOM | 1500 | 20 | 25 | 22-25 | 2 | Float along Aluetian Islands that immediately starts drifting after previous corrections made. May be caused by dynamic eddies rather than any notable sensor issues. | Might just leave for DMQC since it's potentially a real feature of the water. | NO | NO
2024-10-29 | 4903489 | wn1475 | 0 | 0 | 0 | 0 | 1 | 1 | N | DRIFT | 1500 | 28 | 61 | 59,60,61, | 2
2024-10-30 | 5906249 | ua18321 | 0 | 0 | 0 | 0 | 1 | 0 | N | RNGCHK | 1500 | 147 | 164 | 161, 162, 163, 164, | 4
2024-10-31 | 5906531 | ua20589 | 1 | 0 | 0 | 0 | 0 | 0 | PH | JUMP | 950 | 66 | 83 | 75, | 4 | Single profile where deep data below 200m decreases by about .03 pH
2024-10-31 | 5906475 | ua20592 | 0 | 0 | 0 | 0 | 1 | 0 | N | RNGCHK | 1500 | 87 | 103 | 94, | 4 | Profile exceeds the range check from 800m+
2024-10-31 | 5906570 | ua21900 | 1 | 1 | 0 | 0 | 0 | 0 | N | DRIFT | 1500 | 61 | 69 | 62, 63, 64, | 2 | Catch from the "sparkly" float where random points have large intensity shifts
2024-11-01 | 5906448 | ua19751 | 0 | 0 | 0 | 0 | 0 | 0 | PH | DRIFT | 1500 | 106 | 109 | 107, 108, 109, | 2 | Float has recently "recovered" pH but now it looks like the sensor is beginning to drift again. Might have to put back on the BSL
2024-11-01 | 5906487 | ua19806 | 0 | 0 | 0 | 0 | 0 | 0 | PH | DRIFT | 1500 | 79 | 97 | 90, 91, 92, | 2 | False alarm float with a few cycles of high drift
2024-11-01 | 5906307 | un1115 | 0 | 0 | 0 | 0 | 0 | 0 |  | NO GPS |  | NaN | NaN | 140, | 5
2024-11-01 | 5906307 | un1115 | 0 | 0 | 0 | 0 | 0 | 0 | N | DRIFT | 1500 | 126 | 140 | 137, 138, 139, 140, | 2 | Float still showing lower N concentrations but appears to be stabilizing slightly.
2024-11-02 | 1902371 | ss4013 | 0 | 0 | 0 | 0 | 0 | 0 | N | REFANOM | 300 | 1 | 40 | 13, 14, 15, 16, 17, 18, 19, 20, 21, 22, 23, 24, 25, 26, 27, 28, 29, 30, 31, 32, 33, 34, 35, 36, 37, 38, 39, 40, | 2
2024-11-02 | 5906473 | ua20912 | 0 | 0 | 0 | 1 | 0 | 0 | PH | RNGCHK | 1150 | 82 | 104 | 83, 84, 86, 88, | 4
2024-11-02 | 5906473 | ua20912 | 0 | 0 | 0 | 1 | 0 | 0 | PH | DRIFT | 1150 | 82 | 104 | 87, 88, 89, 90, 91, | 2
2024-11-02 | 5906473 | ua20912 | 0 | 0 | 0 | 1 | 0 | 0 | PH | JUMP | 1150 | 82 | 104 | 90, | 4
2024-11-02 | 5906473 | ua20912 | 0 | 0 | 0 | 1 | 0 | 0 | PH | REFANOM | 1150 | 82 | 104 | 84, 85, 86, 87, 88, 89, | 2
2024-11-02 | 7902105 | ua21832 | 1 | 0 | 0 | 0 | 0 | 0 | PH | REFANOM | 950 | 6 | 12 | 9, 10, 11, 12, | 2 | Initially high drift that just needs an earlier qc.
2024-11-03 | 1902666 | ss4017 | 0 | 0 | 0 | 0 | 0 | 0 |  | NO O2 |  | NaN | NaN | 18, | 5
2024-11-03 | 5906533 | ua20728 | 0 | 0 | 0 | 0 | 0 | 0 | PH | DRIFT | 1200 | 67 | 84 | 68, 69, 70, | 2

## DATA
DATE | CATCHES | TOTAL | Notes |  | Code changelog
2024-08-26 | 8 | 137 |  | 2024-08-07 | APPLIED RTQC V5 - Implemented consecutive cycle counter and started using absolute value of tests (which I should've been doing from the get go)
2024-08-27 | 1 | 31 |  | 2024-08-17 | IMPLEMENTED DUAL TEST FOR CYCLE DELTA - to trigger a cycle delta warning, a cycle must now breach the cycle delta AND refanom thresholds
2024-08-28 | 4 | 25 |  | 2024-08-19 | IMPLEMENTED RANGE CHECK WARNINGS FOR RTQC V6
2024-08-29 | 3 | 35 |  | 2024-10-01 | IMPLEMENTED NEW REFANOM THRESHOLDS, .012 needs to be breached 4 consecutive times
2024-08-30 | 1 | 23
2024-08-31 | 2 | 18
2024-09-01 | 0 | 26
2024-09-02 | 1 | 26
2024-09-03 | 1 | 31
2024-09-04 | 3 | 34
2024-09-05 | 0 | 30
2024-09-06 | 1 | 27 | 1902494
2024-09-07 | 4 | 30 | 2903854;5906316;2903453;5906569
2024-09-08 | 3 | 30 | 1902497;6990585;5906293
2024-09-09 | 4 | 30 | 1902368;1902489;5906317;5906249
2024-09-10 | 0 | 18
2024-09-11 | 1 | 20
2024-09-12 | 1 | 30
2024-09-13 | 2 | 32
2024-09-14 | 3 | 33
2024-09-15 | 3 | 29
2024-09-16 | 3 | 26
2024-09-17 | 1 | 25
2024-09-18 | 3 | 31
2024-09-19 | 3 | 28
2024-09-20 | 2 | 17
2024-09-21 | 1 | 21
2024-09-22 | 2 | 23
2024-09-23 | 2 | 30
2024-09-24 | 2 | 34
2024-09-25 | 3 | 40
2024-09-26 | 4 | 21
2024-09-27 | 3 | 19
2024-09-28 | 3 | 32
2024-09-29 | 2 | 25
2024-09-30 | 2 | 24
2024-10-01 | 3 | 27
2024-10-02 | 1 | 22
2024-10-03 | 2 | 30
2024-10-04 | 2 | 32
2024-10-05 | 2 | 32
2024-10-06 | 2 | 33
2024-10-07 | 2 | 33
2024-10-08 | 2 | 31
2024-10-09 | 3 | 34
2024-10-10 | 1 | 14
2024-10-11 | 0 | 22
2024-10-12 | 2 | 31
2024-10-13 | 2 | 31
2024-10-14 | 1 | 31
2024-10-15 | 1 | 33
2024-10-16 | 2 | 35
2024-10-17 | 1 | 27
2024-10-18 | 1 | 27
2024-10-19 | 1 | 27
2024-10-20 | 1 | 27
2024-10-21 | 1 | 27
2024-10-22 | 1 | 26
2024-10-23 | 1 | 33
2024-10-24 | 1 | 33
2024-10-25 | 1 | 33
2024-10-26 | 1 | 33
2024-10-27 | 1 | 33
2024-10-28
2024-10-29
2024-10-30
2024-10-31
2024-11-01
2024-11-02